Web Socket Protocol

The web socket protocol is designed to help the UI and the software backend to send and receive real time data.

- Every package should contain the following:

- Message command.

- Message data.

- Separators

  - The comma is separating between requested parameter and value.

  - The colons “:” is for separating the requested parameters and values.

  - The value starts with quotation marks (”) and ending with the quotation marks (“).

Every command starts with “CMD”. The command list are:

- LoggerConfiguration

- SensorsAssociation

- CreateReport

- LoggerData

- Alerts

Commands:

From UI to backend:

- Logger configuration.

The client will send the logger configuration including all sensors connected to the logger like:

  - Logger ID. And for each logger:

    - Communication details: COM#/ IP (address and port.) x.x.x.x:yyyy

    - Rate: Slow/Fast. Default= Slow (איטי)

    - Intervals (in seconds): Default 30.

    - Batch ID (אצווה). And for each batch the following:

      - Batch channels from 0-100

- Sensor association for calibration:

  - Device ID

  - Logger ID

  - Batch ID

  - Channels 0-200

  - Units: Celsius, Fahrenheit, Rankin, Kelvin

  - Resolution: 0-3

  - Send data: True/false- send data or stop.

- GetStatus

When the user is pressing on the create report button, the Ui need to inform the backend to calculate the data for the report

  - request:

  - CMD:”Status”, Value:Start/Stop/Adjusting/CreateReport,   DeviceID: “112222”

  - Response: OK/Failed

From backend to UI:

- Logger Data

After sending the logger configuration and sensor association for calibration the backed server will send the following data:

- DeviceID

- Logger ID

- BatchID

- Time

- For each:

  - Channel #

  - Value -> according to the selected units.

- Alerts:

The backend can send an alert to the UI during the scanning to notice for exceptions,

- Alert message

Examples:

- Saving logger configuration:

  - request:

    - CMD: “LoggerConfiguration”, LoggerID:”21-333”, IP:”133.3.5.150:8855”, Rate: “Slow”, Interval:”30”, BatchID: “21-555”, BatchChannels:”0-10 11 20-23“, LoggerConfiguration, LoggerID:”21-334”, IP:”133.4.5.150:8855”, Rate: “Slow”, Interval:”30”, BatchID: “21-444”, BatchChannels:”25-35“

  - Response: “OK/Failed”

- Sensor association for calibration:

  - Request:

    - CMD: “SensorsAssociation”, DeviceID:”1223344”, LoggerID: “12-555”,BatchID:”88-777” , BatchChannels:”0-10 15 30”, Units: “Celsius”, Resolution:”2” ,SendData:”True”

  - Response: “OK/Failed”

- CMD:”CreateReport”

  - Request: CMD: “CreateReport”, DeviceID:”1223344”.

  - Response: “OK/Failed”

- CMD:”LoggerData”, DeviceID:”55443322”, LoggerID:”21-555”,BathcID:”213-654”, Time:”01/01/2020 12:35:00”, Channel :”1”, Value:”22”, Channel :”2”, Value:”22”

- CMD:”Alerts”, AlertMessage:”Message”.

## ValidateMABA Command

Request: CMD:"ValidateMABA", MABANumber:"ABC-123/456"

Response: "Valid" or "Invalid"

Validation: MABA can contain digits, letters, and separators (/, \, -, space)

## Alert Command

Format:

CMD:"Alert", DeviceID:"Device456", LoggerID:"Logger123", Channel:"1", Value:"150.0", AlertType:"HighTemp", Message:"...", Time:"..."

Alert Types: HighTemp, LowTemp, SensorError, BatteryLow

## Automatic Alert Detection (NEW)

The server automatically detects and generates alerts for:

1. DataTimeout - No data received from channel for 60 seconds

2. OutOfRange_High/Low - Value outside -50 to 100 range

3. ChannelDisconnected - Channel stops sending data

4. DataRestored - Channel resumes after timeout/disconnect

Monitoring Settings:

- Timeout: 60 seconds

- Check interval: 15 seconds

- Value range: -50 to 100

## Client Disconnect

Client can gracefully disconnect using WebSocket close handshake.

Last Updated: January 19, 2026